## Introduction
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Purpose
Self-assessment enables the organization to examine its daily activities and assess them against the GLP guidelines. It aims to position the organization to fulfil the requirements of the GLP and examine the evolution of the situation. It also helps identify compliance matters, but also areas for improvement.
Chapters
1 | Organization & Management
2 | Quality management system
3 | Control of documentation
4 | Records
5 | Personnel
6 | Premises (Facilities)
7 | Contracts
8 | Reagents
9 | Reference substances, reference materials and reference cultures
10 | Data – Processing equipment
11 | Calibration, verification of performance and qualification of equipment, instruments and other devices
12 | Incoming samples
13 | Analytical worksheet
14 | Validation of analytical procedures
15 | Testing
16 | Evaluation of test results
17 | Certificate of analysis
18 | Retained samples
19 | General safety rules

## 1. Organization & Management
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
1. ORGANIZATION AND MANAGEMENT
| 1.1 | The laboratory is an entity that can be held legally responsible
| 1.2 | The laboratory is organized and operates so as to meet the requirements laid down in these guidelines
| 1.3 | Have managerial and technical personnel with the authority and resources needed to carry out their duties and identify the occurrence of departures from the quality management system or the procedures for performing test and / or calibrations, validation and verification, and to initiate actions to prevent or minimize such departures
Have policies and procedures to ensure the protection of its clients confidential information and proprietary rights, including procedure for protecting the electronic transmission of results
Define, with the aid of organizational charts, the organization and management structure of the laboratory and the relationships between management, technical operations, support services and the quality management system
Specify the responsibility, authority and interrelationships of all personnel who manage, perform or verify work which affects the quality of the tests and/or calibrations, validations and veriﬁcations
Provide adequate supervision of staff, including trainees, by persons familiar with the test and/or calibration, validation and veriﬁcation methods and procedures and the assessment of the results
Ensure the traceability of the sample from receipt, throughout the stages of testing, to the completion of the analytical test report
Have appropriate safety procedures
| 1.4 | Maintains a registry with: -Receiving, distributing and supervising the consignment of the samples to the speciﬁc units -Keeping records on all incoming samples
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon 1. Organization And Management
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 2. Quality management system
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
2. Quality management system
| 2.1 | A quality management system appropriate to the scope of activities is established implemented and maintained
The documentation used in this quality management system are communicated, available to, understood and implemented by, the appropriate personnel
| 2.2 | Quality policy statement and overall objectives are stated in the quality manual
The structure of the laboratory (organizational chart) is stated in the quality manual
Outline of the structure of documentation used in the laboratory quality management system is stated in the quality manual
The general internal quality management procedures are stated in the quality manual
References to speciﬁc procedures for each test are stated in the quality manual
Information on the appropriate qualiﬁcations, job description, experience and competencies that personnel are required to possess are stated in the quality manual
Information on initial and in-service training of staff is stated in the quality manual
A policy for internal and external audit is stated in the quality manual
A policy for implementing and verifying corrective and preventive actions is stated in the quality manual
A policy for dealing with complaints is stated in the quality manual
A policy for the use of appropriate reference substances and reference materials is stated in the quality manual
A policy to select service providers and suppliers is stated in the quality manual
| 2.3 | The quality policy stated in the quality manual includes a statement of the laboratory management’s intentions, the commitment to establishing, implementing and maintaining an effective quality management system and the commitment to good professional practice and quality of testing, calibration, validation and veriﬁcation
Quality policy also include a requirement that all personnel concerned with testing and calibration activities within the laboratory familiarize themselves with the documentation concerning quality and the implementation of the policies and procedures in their work
| 2.4 | Authorized written SOPs are established, implemented and maintained (not limited to, administrative and technical operations)
| 2.5 | The activities are systematically and periodically audited (internally and, where appropriate, by external audits or inspections) to verify compliance with the requirements of the quality management system. Such audits should be recorded, together with details of any corrective and preventive action taken
The audits should be carried out by trained and qualiﬁed personnel, who are independent of the activity to be audited.
| 2.6 | Management review of quality issues regularly undertaken (at least annually), including: -Reports on internal and external audits or inspections and any follow-up required to correct any deﬁciencies -The outcome of investigations carried out as a result of complaints received; -Corrective actions applied and preventive actions introduced as a result of these investigations
Proposed Improvement Actions
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 2. Quality management system
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 3. Control of documentation
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
3. Control of documentation
| 3.1 | Established and maintained procedures to control and review all documents that form part of the quality documentation. A master list identifying the current version status and distribution of documents established and readily available
| 3.2 | The procedures ensure that: -Each document, has a unique identiﬁer, version number and date of implementation, and total number of pages -Appropriate, authorized SOPs are available at the relevant locations, e.g. near instruments -Documents are kept up to date and reviewed as required -Any invalid document is removed and replaced with the authorized, revised document with immediate effect -A revised document includes references to the previous document -Old invalid documents are retained in the archives to ensure traceability of the evolution of the procedures; any copies are destroyed -All relevant staff are trained for the new and revised SOPs -Quality documentation, including records, is retained for a minimum of ﬁve years
| 3.3 | The use of computer based systems to facilitate the control of documents.Only access to the system to authorized staff
| 3.4 | Changes to documents are reviewed and approved by the same function that performed the original review unless specifically designated otherwise
| 3.5 | Where practicable, the nature of the change is identified in the document or the appropriate attachments
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 3. Control of documents
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 4. Records
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
4. Records
| 4.1 | Established and maintained procedures for the identiﬁcation, collection, indexing, retrieval, storage, maintenance and disposal of and access to all quality and technical/scientiﬁc records
| 4.2 | All original observations, including calculations and derived data, calibration, validation and veriﬁcation records and ﬁnal results, are retained on record for an appropriate period of time in accordance with national regulations and, if applicable, contractual arrangements, whichever is longer
The records include the data recorded in the analytical worksheet by the technician or analyst on consecutively numbered pages with references to the appendices containing the relevant recordings, e.g. chromatograms and spectra
The records for each test contains sufficient information to permit the tests to be repeated and/or the results to be recalculated, if necessary
The records include the identity of the personnel involved in the sampling, preparation and testing of the samples
| 4.3 | Technical records includes forms, contracts, work sheets, work books, check sheets, work notes, control graphs, test reports, calibration certificates, clients notes, papers and feedback, test reports and calibration certificates to clients
| 4.4 | Quality management records include reports from internal and external audits and management reviews, as well as records of all complaints and their investigations, including records of possible corrective and preventive actions
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 4. Records
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 5. Personnel
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
5. Personnel
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
| 5.1 | Have sufficient personnel with the necessary education, training, technical knowledge and experience for their assigned functions
| 5.2 | Ensure the competency of all who operate specific equipment, who perform tests and / or calibrations, evaluate results and sign test reports and calibration certificates
| 5.3 | Have a policy and procedures for identifying training needs and providing training of personnel. The training programme are relevant to present anticipated tasks of the laboratory
| 5.4. | Current job descriptions for all personnel involved in tests and/or calibrations validations and veriﬁcations
Records of all technical personnel, describing their qualiﬁcations, training and experience are maintained
| 5.5 | Competence is monitored continuously with provision for retraining where necessary
Where a method or technique is not in regular use, the competency of the personnel to perform the test is verified before testing is undertaken
| 5.6 | Personnel working in microbiology laboratory are trained in safe handling of microorganisms
| 5.7 | Have a head of laboratory: -qualiﬁcations appropriate to the position -responsible for the content of certiﬁcates of analysis and analytical testing reports
Have a technical management who ensure that: Procedures for performing calibration, veriﬁcation and re- qualiﬁcation of instruments, monitoring of environmental and storage conditions are in place and are conducted as required
Regular training programmes are done
Analysts graduates in pharmacy, analytical chemistry, microbiology or other relevant subjects
Technical staff who hold diplomas in their subjects awarded by technical or vocational schools
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 5. Personnel
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 6. Premises (Facilities)
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
6. Premises (Facilities)
| 6.1 | The laboratory facilities are of suitable size, construction and location and designed to suit the functions and operations to be conducted in them
Changing areas and toilets are separated from laboratory areas
| 6.2. | The laboratory facilities have adequate safety equipment (e.g. eye wash, safety shower) located appropriately and measures are in place to ensure good housekeeping (e.g. laboratory cleaning records)
The laboratory is equipped with adequate instruments and equipment, including work benches, work stations and fume hoods
| 6.3 | Equipment, instruments and other devices are designed, constructed, adapted, located, calibrated, qualiﬁed, veriﬁed and maintained as required by the operations to be carried out in the local environment
| 6.4 | Required test equipment, instruments and other devices for the correct performance of the tests and/or calibrations, validations and veriﬁcations (including the preparation of samples and the processing and analysis of test and/or calibration data) exist
| 6.5 | Ensure that the environmental conditions are monitored, controlled and documented and do not invalidate the results or adversely affect the quality of the measurements
| 6.6 | There is a separate and dedicated unit or equipment (e.g. isolator, laminar ﬂow work bench) to handle, weigh and manipulate highly toxic or biological substances. -Procedures are in place to avoid exposure and contamination
| 6.7 | Archive facilities are provided to ensure the secure storage and retrieval of all documents
Archived design and archived conditions protect contents from untimely deterioration
| 6.8 | Procedures are in place for the safe removal of types of waste including toxic waste (chemical and biological), reagents, samples, solvents and air ﬁlters
| 6.9 | The laboratory is appropriately designed to enable appropriate cleaning, disinfection and to minimize the risks of contamination
| 6.1o | Microbiological testing are contained in an appropriately designed and constructed laboratory unit (adequate suitable space for samples, reference organisms, media, testing and records)
| 6.11 | Access to the laboratory is restricted to authorized personnel
| 6.12 | Laboratory activities, such as sample preparation, media and equipment preparation and enumeration of microorganisms, is segregated by space or at least in time, so as to minimize risks of cross-contamination, false-positive results and false-negative results. Sterility testing are always be performed in a dedicated area
| 6.13 | Documented cleaning and disinfection programme
| 6.14 | Adequate hand-washing and hand-disinfection facilities available
| 6.15 | Storage facilities well organized for the correct storage of samples, reagents, equipment, laboratory accessories, reference substances and reference materials
All speciﬁed storage conditions controlled monitored and records maintained
Access is restricted to designated personnel
| 6.16 | Appropriate safety procedures are drawn up and implemented wherever toxic or ﬂammable reagents are stored or used
Separate areas for storing ﬂammable substances, fuming and concentrated acids and bases, volatile amines and other reagents
Small stocks of acids, bases and solvents are kept in the laboratory store but the main stocks of these items are retained in a store separate from the laboratory building
| 6.17 | Gases are stored in a dedicated store and gas bottles present in the laboratory safely secured
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 6. Premises (Facilities)
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 7. Contracts
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
7. Contracts
| 7.1 | Procedure for the selection and purchasing of services and supplies, reception and storage of consumable materials relevant for the tests and calibrations
| 7.2 | Records of evaluations of suppliers and list approved supplies
| 7.3 | The laboratory obtains approval from the client, preferably in writing, when the laboratory intends to subcontract to another laboratory specific tests and/or calibrations
| 7.4 | When a laboratory subcontracts work, which may include speciﬁc testing, it is to be done with organizations approved for the type of activity required
| 7.5 | Written contract which clearly establishes the duties and responsibilities of each party, deﬁnes the contracted work and any technical arrangements. The contract should permit the laboratory to audit the facilities and competencies of the contracted organization.
| 7.6 | A register of all subcontractors that it uses for tests and a record of the assessments of the competence of subcontractors is maintained
| 7.7 | The laboratory takes the responsibility for all results reported, including those furnished by the subcontracting organization
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 7. Contracts
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 8. Reagents
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
8. Reagents
| 8.1 | Appropriate quality reagents, media and chemicals, including solvents and materials are used in tests and assays
| 8.2 | Reagents / media are accompanied by the certiﬁcate of analysis, and the material safety data sheet
| 8.3 | In the preparation of reagent solutions / media in the laboratory: a) Responsibility for this task are clearly speciﬁed in the job description of the person assigned to carry it out
b) Prescribed procedures which are in accordance with published pharmacopoeial or other standards where available
Records are kept of the preparation and standardization of volumetric solutions
| 8.4 | The labels of all reagents / media clearly specify: a) Content b) Manufacturer c) Date received and date of opening of container d) Concentration if applicable e) Storage conditions f) Expiry date or retest date as justified
| 8.5 | The labels of reagent solution prepared in the laboratory should clearly specify: a) Name b) Date of preparation and initials of technician or analyst c) Expiry date or retest date d) Concentration
| 8.6 | The labels for volumetric solutions prepared in the laboratory should clearly specify: a) Name b) Molarity (or concentration) c) Date of preparation and initials of technician / analyst d) Date of standardization and initials of technician / analyst e) Standardization factor
| 8.7 | Reagents that appear to have been tampered with should be rejected
| 8.8 | Appropriate grade for a speciﬁc test for water should be used as described in the pharmacopoeias
| 8.9 | Precautions are taken to avoid contamination during its supply, storage and distribution of water
| 8.1o | The quality of the water is veriﬁed regularly to ensure that the various grades of water meet the appropriate speciﬁcations
| 8.11 | Stocks of reagents and media is maintained in a store under the appropriate storage conditions
| 8.12 | The person in charge of the store is responsible for looking after the storage facilities and their inventory and for noting the expiry date of chemicals and reagents
| 8.13 | Growth promotion and other suitable performance tests should be done on all media on every batch and on every shipment
Where the supplier of fully prepared media is qualified and provides growth promotion certification per batch of media and transportation conditions have been qualified, the user relies on the manufacturer’s certificate with periodic verification of his or her results
| 8.14 | Shelf-life of prepared media under defined storage conditions are determined and verified
| 8.15 | The expiry date of reagents / solutions may be extended on the basis of documented evaluation or analysis
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 8. Reagents
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 9. Reference substances
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
9. Reference substances, reference materials and reference cultures
| 9.1 | Pharmacopoeial reference substances are employed when available and appropriate for the analysis
When a pharmacopoeia reference substance has not been established then the manufacturer uses its own reference substance
| 9.2 | Reference materials may be necessary for the calibration and/or qualiﬁcation of equipment, instruments or other devices, if necessary they are used
| 9.3 | Reference cultures for establishing acceptable performance of media, for validating methods, for verifying the suitability of test methods and for assessing or evaluating ongoing performance
| 9.4 | An identification number is assigned to each batch of reference substances.This number is marked on each vial of the reference substance
| 9.5 | The identification number is quoted on the analytical worksheet every time the reference substance is used. In the case of pharmacopeial reference substance the batch number and / or the batch validity statement is attached to the worksheet
| 9.6 | The register for all reference substances and reference materials are maintained and contain the following information: a) The identiﬁcation number of the substance or material b) A precise description of the substance or material c) The source d) The date of receipt e) The batch designation or other identiﬁcation code f) The intended use of the substance or g) The location of storage in the laboratory and any special storage conditions h) Expiry date or retest date i) Certiﬁcate (batch validity statement) of a pharmacopoeial reference substance and a certiﬁed reference material which indicates its use, the assigned content, if applicable and its status (validity) j) In the case of secondary reference substances prepared and supplied by the manufacturer, the certiﬁcate of analysis
| 9.7 | A person is nominated to be responsible for reference substances and reference materials
| 9.8 | A ﬁle with all information on the properties of each reference substance is entered including the safety data sheets is kept
| 9.9 | For reference substances prepared in the laboratory, the ﬁle should include the results of all tests and veriﬁcations used to establish the reference substances and expiry date or retest date; these should be signed by the responsible analyst
| 9.1o | All reference substances prepared in the laboratory or supplied externally are retested at regular intervals to ensure that deterioration has not occurred the results of these tests are recorded and signed by the responsible analyst
| 9.11 | In the case that the result of retesting of a reference substance is non- compliant, a retrospective check of tests performed using this reference substance since its previous examination is carried out
| 9.12 | Pharmacopoeial reference substances are regularly retested and their validity is available from the issuing pharmacopoeia by various means, (e.g. web sites or catalogues). Retesting by the laboratory is not done, where same storage conditions are followed
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 9. Reference substances, reference materials and reference cultures
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 10. Data – Processing equipment
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
10. Data – Processing equipment
| 10.1 | Computer software developed by the user is documented and appropriately validated
| 10.2 | Procedures are established and implemented for protecting the integrity of data
| 10.3 | Electronic data is backed up at appropriate regular intervals according to a documented procedure
Backed-up data is retrievable and sorted in such a manner as to prevent data loss.
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 10. Data – Processing equipment
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 11. Calibration, verification
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
11. Calibration, verification of performance and qualification of equipment, instruments and other devices
| 11.1 | Each item of equipment, instrument or other device used for testing, veriﬁcation and/or calibration is uniquely identiﬁed and labeled
| 11.2 | All equipment, instruments and other devices (e.g. volumetric glassware and automatic dispensers) requiring calibration are labelled, coded or otherwise identiﬁed to indicate the status of calibration and the date of recalibration
| 11.3 | The performance of equipment is veriﬁed at appropriate intervals according to a plan established by the laboratory
| 11.4 | Measuring equipment regularly calibrated according to a plan established by the laboratory
| 11.5 | Laboratory equipment undergo design qualification, installation qualiﬁcation, operation qualiﬁcation and performance qualiﬁcation
| 11.6 | Speciﬁc procedures is established for each type of equipment, taking into account the type of equipment and the extent of use
| 11.7 | Each equipment, instrument and device have written standard operating procedure approved by the test facility management that are intended to ensure the quality and integrity of data generated by that test. Only authorized personnel should operate equipment, instrument and device.
| 11.8 | Records kept of each item of equipment, instrument or other device used to perform testing, veriﬁcation and/or calibration include: a) The identity of the equipment, instrument or other device; b) The manufacturer’s name and the equipment model, serial number or and code number; c) The qualiﬁcation, veriﬁcation and/or calibration required; d) The current location, where appropriate; e) The equipment manufacturer’s instructions; f) The dates, results and copies of reports, veriﬁcations and certiﬁcates of all calibrations, adjustments, acceptance criteria and the due date of the next qualiﬁcation, veriﬁcation and/or calibration; g) The maintenance carried out to date and the maintenance plan; h) A history of any damage, malfunction, modiﬁcation or repair
| 11.9 | Procedures include instructions for the safe handling, transport and storage of measuring equipment
| 11.1o | Maintenance of essential equipment is carried out at predetermined intervals in accordance with a documented procedure. The maintenance is followed by veriﬁcation of performance.
| 11.11 | Equipment, instruments and other devices, shown to be defective or outside speciﬁed limits, are taken out of service and clearly labelled or marked
| 11.12 | When the equipment, instruments and other devices are outside the direct control of the laboratory for a certain period or have undergone major repair, the laboratory requalify the equipment to ensure its suitability for use
| 11.13 | The temperature measurement devices are traceable to national or international standards for temperature
| 11.14 | Volumetric equipment are verified (automatic dispensers, mechanical hand pipettes and disposable pipettes) and then regular checks are done to ensure that the equipment is performing within the required specification
| 11.15 | No initial verification is necessary for certified glassware
| 11.16 | All calibrations or qualifications of instruments are traceable to certified reference materials
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 11. Calibration, verification of performance and qualification of equipment, instruments and other devices
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 12. Incoming samples
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
12. Incoming samples
| 12.1 | Enable a number of replicate tests to be carried out by by taking large samples
| 12.2 | Sample is divided into three approximately equal portions: • one for immediate testing; • the second for conﬁrmation of testing if required; • the third for retention in case of dispute
| 12.3 | Samples are representative of the batches of material from which they are taken. All relevant data related to sampling are recorded
| 12.4 | Transport and storage of samples for microbiological testingis under conditions that maintain the integrity of the sample
Testing of the samples are performed as soon as possible after sampling
The storage conditions are monitored and records kept
The responsibility for transport, storage between sampling and arrival to the testing laboratory is clearly documented
| 12.5 | A standard test request form is ﬁlled out and accompany each sample submitted to the laboratory: a) The name of the institution that supplied the sample b) The source c) A full description of the medicine, including its composition, and brand name; d) Dosage form and concentration or strength, the manufacturer, the batch number and the marketing authorization number; e) The size of the sample; f) The reason for requesting the analysis; g) The date on which the sample was collected; h) The expiry date (for pharmaceutical products) or retest date (for APIs and pharmaceutical excipients); i) The standards / speciﬁcations to be used for testing; j) The required storage conditions; k) Condition of the sample on receipt; l) Characteristics of the sampling operation (sampling date / sampling condition)
| 12.6 | Separate registration numbers is assigned to requests referring to two or more medicines, different dosage forms, or different batches of the same medicine or different sources of the same batch
| 12.7 | All samples and accompanying documents assigned a registration number
| 12.8 | A register in which the following information is recorded: • The registration number of the sample; • The date of receipt
| 12.9 | The sample received is visually inspected by laboratory staff to ensure that the labelling conforms with the information contained in the test request. The ﬁndings is recorded, dated and signed. If discrepancies are found, or if the sample is obviously damaged, this fact is recorded without delay on the test request form
| 12.1o | The sample prior to testing, the retained sample and any portions of the sample remaining after performance of all the required tests is stored safely: storage conditions
| 12.11 | Laboratory sample portions that are known to be contaminated should be decontaminated prior to being discarded
Written procedure for the retention and disposal of samples
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 12. Incoming samples
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 13. Analytical worksheet
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
13. Analytical worksheet
| 13.1 | Analytical worksheet used by the analyst for recording information about the sample, the test procedure, calculations and the results of testing. It is complemented by the raw data obtained in the analysis
| 13.2 | Separate analytical worksheet used for each numbered sample or group of samples
| 13.2 | In the analytical worksheet: a) The registration number of the sample; b) Page numbering including the total number of pages; c) The date of the test request; d) The date on which the analysis was started and completed; e) The name and signature of the analyst; f) A description of the sample received; g) References to the speciﬁcations and a full description of test methods by which the sample was tested, including the limits; h) The identiﬁcation number of any reference substance used; i) If applicable, the results of the system suitability test; j) The identiﬁcation of reagents and solvents employed; k) The results obtained; l) The interpretation of the results and the ﬁnal conclusions approved and signed by the supervisor; m) Any further comments
| 13.4 | All values obtained from each test, including blank results, immediately entered on the analytical worksheet and all graphical data, whether obtained from recording instruments or plotted by hand, should be attached or be traceable to an electronic record ﬁle or document where the data are available
| 13.5 | The completed analytical worksheet is signed by the responsible analyst(s) verified and approved and signed by the supervisor
| 13.6 | When a mistake is made in an analytical worksheet or when data or text need to be amended, the old information is deleted by putting a single line through it and the new information added alongside. All such alterations are to be signed by the person making the correction and the date of the change inserted
| 13.7 | The speciﬁcation necessary to assess the sample given in the test request or recognized national pharmacopoeia are used
| 13.8 | The analytical worksheet are kept safely together with any attachments, including calculations and recordings of instrumental analyses
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 13. Analytical worksheet
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 14. Analytical procedures
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
14. Validation of analytical procedures
| 14.1 | Validation is the confirmation by examination and the provision of effective evidence that the particular requirements for a specific intended use are fulfilled
| 14.2 | All analytical procedures employed for testing are suitable for the intended use (demonstrated by validation)
| 14.3 | Validation are performed according to a validation protocol, which includes analytical performance characteristics to be veriﬁed for various types of analytical procedures. Typical characteristics which should be considered are listed in Table 1 (see attached GLP guidline)
| 14.4 | Pharmacopoeia methods are considered to be validated for the intended use as prescribed in the monograph(s)
The laboratory also conﬁrm that, for a particular ﬁnished pharmaceutical product (FPP) examined for the ﬁrst time, no interference arises from the excipients present, or that for an API, impurities coming from a new route of synthesis are adequately differentiated
| 14.5 | For microbiology, the test method to be used by a laboratory for testing of a specific product needs to be shown to be suitable for use in recovering bacteria, yeast and mould in the presence of the specific product
The results are evaluated with appropriate statistical methods, e.g. as described in the national, regional or international pharmacopoeias
| 14.6 | The validation comprise where appropriate determining accuracy precision, specificity, limit of detection, limit of qualification, linearity and robustness
| 14.7 | System suitability tests are employed for the veriﬁcation of pharmacopoeia methods or validated analytical procedures and are to be performed prior to the analysis
If a large number of samples is being analysed in sequence, then appropriate system suitability tests are to be performed throughout the sequence to demonstrate that the performance of the procedure is satisfactory
| 14.8 | A major change to the analytical procedure, or in the composition of the product tested, or in the synthesis of the API, require revalidation of the analytical procedure
| 14.9 | Test methods should be validated / verified according to international standards
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 14. Validation of analytical procedures
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 15. Testing
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
15. Testing
| 15.1 | The sample should be tested in accordance with the work plan of the laboratory. If this is not feasible, the reasons should be noted in the analytical worksheet, and the sample should be stored in a special place which is kept locked
| 15.2 | All instructions, standards, manuals and reference data relevant to the work of laboratory are maintained current and readily available to personnel
| 15.3 | Detailed guidance on ofﬁcial pharmacopoeia requirements is given in the general notices and speciﬁc monographs of the pharmacopoeia concerned
| 15.4 | International, regional or national standards or other recognized specifications that contain sufficient and concise information on how to perform the tests and / or calibrations are not supplemented nor rewritten as internal procedures if these standards are written in a way that they can be used as published by the operating staff in laboratory. The laboratory ensure that it uses the latest edition of standard.
| 15.5 | Alternative testing procedures may be used if they are appropriately validated and equivalence to official methods has been demonstrated
| 15.6 | Test procedures are described in detail and provide sufﬁcient information to allow properly trained analysts to perform the analysis in a reliable manner
| 15.7 | Where system suitability criteria are deﬁned in the method they are fulﬁlled
| 15.8 | Any deviation from the test procedure is approved and documented
| 15.9 | The result of an analysis is traceable when appropriate alternately to a primary reference substance
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 15. Testing
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 16. Test results
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
16. Evaluation of test results
| 16.1 | Test results are reviewed and evaluated statistically after completion of all the tests to determine whether they are mutually consistent and if they meet the speciﬁcations used
Whenever doubtful (atypical) results are obtained, they are investigated. The complete testing procedure is checked according to the internal quality management system.
| 16.2 | For microbiology, if the result of the enumeration is negative, it should be reported as “not detected for a defined unit” or “less than the detection limit for a defined unit”. The result should not be given as “zero for a defined unit” unless it is a regulatory requirement. Qualitative test results should be reported as “detected/not detected in a defined quantity or volume”. A reported value of “0” may be used for data entry and calculations or trend analysis in electronic data bases
| 16.3 | When a doubtful result has been identiﬁed, a review of the different procedures applied during the testing process is to be undertaken by the supervisor with the analyst or technician before retesting is permitted: a) Conﬁrm with the analyst or technician that the appropriate procedure(s) was (were) applied and followed correctly; b) Examine the raw data to identify possible discrepancies; c) Check all calculations; d) Check that the equipment used was qualiﬁed and calibrated, and that system suitability tests were performed and were acceptable; e) Ensure that the appropriate reagents, solvents and reference substances were used; f) Conﬁrm that the correct glassware was used; g) Ensure that original sample preparations are not discarded until the investigation is complete
| 16.4 | The identiﬁcation of an error which caused an aberrant result will invalidate the result and a retest of the sample will be necessary. Doubtful results can be rejected only if they are clearly due to an identiﬁed error
If the investigation is inconclusive a conﬁrmatory determination is to be performed by another analyst who should be at least as experienced and competent in the analytical procedure as the original analyst. A similar value would indicate an OOS result
| 16.5 | An SOP is in place for the conduct of an investigation of an OOS test result: clear guidance on the number of retests allowed (based on sound statistical principles)
All investigations and their conclusions are recorded. In the event of an error, any corrective action taken and any preventive measure introduced should be recorded and implemented.
| 16.6 | All individual results with acceptance criteria are reported
| 16.7 | All conclusions are entered on the analytical worksheet by the analyst and signed by the supervisor
| 16.8 | The results are reported in a test report and include all the information required by the client and necessary for the interpretation of the results
| 16.9 | Analytical test report: a) Issued by the laboratory b) Based on the analytical worksheet.
| 16.1o | The analytical test report should provide: a) The title of the report; b) The laboratory registration number of the sample; c) The laboratory test report number; d) The name and address of the laboratory testing the sample; e) The name and address of the originator of the request for analysis; f) The name, description and batch number of the sample, where appropriate; g) An introduction giving the background to and the purpose of the investigation; h) A reference to the speciﬁcations used for testing the sample or a detailed description of the procedures employed (sample for investigative testing), including the limits; i) The results of all the tests performed or the numerical results with the standard deviation of all the tests performed; j) A discussion of the results obtained
k) The name and address of the original manufacturer; l) The date on which the sample was received; m) The date on which the test(s) was (were) completed; n) The signature of the head of the laboratory or authorized person; o) Whether or not the sample(s) complies (comply) with the requirements / specification; p) The expiry date or retest date, if applicable; q) A statement indicating that the analytical test report, or any portion thereof, cannot be reproduced without the authorization of the laboratory
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 16. Evaluation of test results
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 17.Certificate of analysis
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
17. Certificate of analysis
| 17.1 | A certiﬁcate of analysis is prepared for each batch of a substance or product and usually contains the following information: a) The registration number of the sample; b) Date of receipt ; c) The name and address of the laboratory testing the sample; d) The name and address of the originator of the request for analysis; e) The name, description and batch number of the sample where appropriate; f) The name and address of the original manufacturer; g) The reference to the speciﬁcation used for testing the sample; h) The results of all tests performed with the prescribed limits; i) A conclusion as to whether or not the sample was found to be within the limits of the speciﬁcation; j) Expiry date or retest date if applicable; k) Date on which the test(s) was (were) completed; l) The signature of the head of laboratory or other authorized person
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 17. Certificate of analysis
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 18. Retained samples
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
18. Retained samples
| 18.1 | Samples are retained as required by the originator of the request for analysis
There should be a sufﬁcient amount of retained sample to allow at least two re-analyses
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 18. Retained samples
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result

## 19. Safety rules
Self-assessment & Evaluation of Good Laboratory Practices implementation for pharmaceutical Quality Control Laboratories in Lebanon
Name & function of the referent
Name & function of personnel who participated in the self assessment
Meeting dates
Guidelines |  |  |  | Meet Requirement |  | Comments (Note relevant information relating to the guideline, specifying the actions undertaken or underway or planned to meet requirement)
|  |  |  | Yes | No
19. General safety rules
| 19.1 | General and specific safety instruction available to all the laboratory personnel
| 19.2 | Safety data sheets should available to staff before testing is carried out
Smoking, eating and drinking in the laboratory is prohibited
Staff familiar with the use of ﬁre-ﬁghting equipment, including ﬁre extinguishers, ﬁre blankets and gas masks
Staff wear laboratory coats or other protective clothing, including eye protection
Special care taken in handling highly potent, infectious or volatile substances
Highly toxic and/or genotoxic samples handled in a specially designed facility to avoid the risk of contamination
All containers of chemicals fully labeled and include prominent warnings (e.g. “poison”, “ﬂammable”, “radioactive”, “biohazard”)
Staff aware of the need to avoid working alone in the laboratory
First-aid materials provided and staff instructed in ﬁrst-aid techniques, emergency care and the use of antidotes
| 19.3 | Protective clothing, eye protection, masks and gloves. Safety showers and eye wash station. Warning, precautions and instructions available.
Staff instructed in the safe handling of glassware, corrosive reagents and solvents
| 19.4 | Staff aware of methods for the safe disposal of unwanted corrosive or dangerous products by neutralization or deactivation and of the need for safe and complete disposal of mercury and its salts
| 19.5 | Poisonous or hazardous products are singled out and labeled appropriately
| 19.6 | A procedure for dealing with spillage
| 19.7 | A procedure for the disposal of contaminated materials designed to minimize the possibility of contaminating the test environment or materials (conform to national/international environmental or health and safety regulations)
Proposed Improvement Actions
Self-assessment & Evaluation of Good Laboratory Practices for pharmaceutical Quality Control Laboratories in Lebanon Implementation 19. General safety rules
# Of Conformities
# Of Non-Conformities
Strengths
Weaknesses
Action Plan
Action |  |  |  |  | Deadline | Result